## DC
title[subtitle] | title[alternative] | contributor[author] | contributor[alternativeName] | contributor[advisor] | contributor[department] | publisher | date[issued] | identifier[bibliographicCitation] | identifier[issn] | identifier[doi] | language[iso] | keywords[keyword] | abstract | abstract | identifier[uri] | identifier[url]
|  | SU MYAT MON |  | Jung, Jae Sung | 국제대학원 융합에너지학과 | Graduate School of International Studies Ajou University | 2019-02 |  |  |  | eng |  |  | The purpose of this study is to provide the current situation of the power system in Myanmar and to improve the power transmission system reliability. Electricity demand has rapidly increased by more than 10% annually according to economy growth. The power supply is now urgently required to meet the demand. It needs to prioritized and supervised oil, natural gas and natural resources to be able to meet domestic demands. For sufficient electricity supply throughout the country, to expand the national power grid for the effective utilization of generated power from the available energy resources such as hydro, wind, solar, thermal and other alternative ones. It needs to develop the electric power sector of the country in order to contribute to the implementation of current situation to economic, social and environmental conservation and development. This study aimed to improve the reliability of power transmission system in the Southern grid according to Myanmar Power System Development Plan. Modelling and Simulation of the Network were done using NEPLAN software to study the Load Flow and voltage collapse. According to the results of the study, the voltage ranges achieved within the limit of voltage regulation by using Shunt compensation in 230 kV busbar from the existing condition of Myanmar transmission network. In order to establish a reliable power transmission system, the appropriate reliability goals are set in accordance with comprehensive prediction of future power demand with the power source development and the view of the short and long-term economic growth. | https://dspace.ajou.ac.kr/handle/2018.oak/15016 | http://dcoll.ajou.ac.kr:9080/dcollection/common/orgView/000000028278