## DC
title[subtitle] | title[alternative] | contributor[author] | contributor[alternativeName] | contributor[advisor] | contributor[department] | publisher | date[issued] | identifier[bibliographicCitation] | identifier[issn] | identifier[doi] | language[iso] | keywords[keyword] | abstract | abstract | identifier[uri] | identifier[url]
| An Ji eun | 안지은 | An Ji eun | 변상요 | 산업대학원 화학생명공학과 | The Graduate School, Ajou University | 2011-02 |  |  |  | kor | 세파클러; LC-MS/MS; | 세파클러(Cefaclor,monohydrate, 3-Chloro-7-D-(2-phenylglycinamido)-3-cepham-4-carboxylic acid, monohydrate)는 cephalosporin계 반합성 유도체로서 세균의 세포벽 합성을 저해하여 살균작용을 나타내는 제 2세대 경구용 항생제이다. 1세대 경구용 세파계 항생제와 같이 호흡기, 비뇨기, 피부과 영역의 경증 내지 중증도의 세균감염에 이용된다. 본 연구에서는 cefaclor제제를 기존에 널리 알려진 HPLC-UV를 이용하여 분석을 진행할 경우 분석시간의 증가(Run time 15분) 및 cefaclor의 감도향상에 대한 분석방법의 정확도를 향상시키기 위해서 LC-MS/MS를 이용하여 분석방법을 진행하기로 하였다. 약물분석기기로는 API-3000 (Applied Biosystems, U.S.A.)를, column은 Symmetry Shield RP18(3.5㎛, 2.1 × 100mm, Waters, Ireland)를 이용하였으며, MRM (Multiple Reaction Monitoring) mode의 경우 Positive ion 모드로 진행하였다. cefaclor의 m/z는 368.1 → 174.2였으며, 내부표준물질인 Cephalexin의 m/z는 348.2 → 158.1 임을 확인 할 수 있었다. 기기조건으로는 Collision Energy(CE)이 21 V였으며, Collision Gas (CAD) : 9 ㎖/min으로 설정하였다. 또한 Nebulizer Gas (NEB)은 8 ㎖/min, Curtain Gas (CUR)값은 9 ㎖/min. Ion Spray Voltage (IS)는 5500 V, Temperature (TEM)는 500℃으로 조건을 설정하여 분석을 진행하였다. DP값은 41.0, EP값은 11.0, CE값은 21.0 CXP는 12.0로 조건을 설정하였다. validation 진행은 검량선 농도인 0.5, 1, 2.5, 5, 10, 20 ㎍/㎖로 진행하였으며, 직선성 확인결과 가중치(1/x)를 적용하여 얻은 혈장시료로부터 구한 세파클러의 검량선 계산식은 일내에서는 y = 0.04 x + 0.000315 (r= 0.9997), 일간에서는 y = 0.0383 x - 0.000341 (r= 0.9982)로 0.5~20.0 ㎍/㎖ 범위에서 양호한 직선성을 나타내었다. 정확성 및 정밀성은 일간 및 일내에서 15%이내임을 확인할 수 있었으며, 안정성 진행의 경우 0.5, 2.5, 10 ㎍/㎖의 농도에서 진행하였으며, 특이성 및 24시간 조제 후 안정성, 단기온도 안정성(4 hr), 표준원액안정성(6 hr), 3회 냉,해동 안정성 및 장기온도 안정성(30 day)모두 기준으로부터 15%이내임을 확인할 수 있었다. Carry Over의 경우 없는 것을 확인하였다. validation 및 안정성 확인 결과 세파클러의 분석방법에 대해 신뢰할 수 있었으며, 분석시간의 감소(3 min) 및 감도향상으로 인해 injection volume의 감소로 상대적인 효율이 높음을 입증할 수 있었으며, 기기변경에 따른 새로운 분석조건은 생체 내 세파클러 제제의 분석에 매우 적합하다는 것을 증명할 수 있었다. | A sensitive and specific liquid chromatographic-tandem mass is described for the determination of cefaclor in human plasma. Cefaclor was extracted from human plasma by using Protein Precipitation(PPT) extraction technique. Cephalexin was used as the internal standard. The pretreat samples were analyzed on a Symmetry Shield PR18(3.5 ㎛, 2.1 × 100 mm, Waters, Ireland) column interfaced with a triple quadrupole tandem mass spectrometer. Positive electrospray ionization(ESI) was employed as the ionization source. The isocratic mobile phase used consisted of 10 mM ammonium acetate-methyl alcohol(40:60,v/v, Formic acid pH 3.5). Cefaclor and the IS were both detected in multiple reaction monitoring(MRM) mode at transition: m/z: 368.1 → 174.2 for Cefaclor and 348.2 → 158.1 for the IS, respectively. The method involves a rapid Protein Precipitation(PPT) from plasma, simple isocratic chromatography conditions and mass spectrometric detection that enables detection up to microgram levels with a total run time of 3.0 min only. The calibration curve was lenear over the concentration range from 0.5-20 ㎍/㎖, and correlation coefficients were greater than 0.9982. The coefficient of variation of assay precision was less than 7.44%, and its accuracy ranged from 95.56 % to 104.12%. The validated method has been successfully used to analyze human plasma samples. | https://dspace.ajou.ac.kr/handle/2018.oak/17719 | http://dcoll.ajou.ac.kr:9080/dcollection/jsp/common/DcLoOrgPer.jsp?sItemId=000000011533